Equipment Calibration Compliance

Functional and Non-Functional Requirements

| Document owner | Version | Date | Status |
| --- | --- | --- | --- |
| Michael Yaacoub, Sr Solution Engineer | 1.0 | 2026-08-24 | Draft |

This template follows the sample requirements structure: purpose and scope, Epic, Features and User Stories, non-functional requirements, traceability, and assumptions.

# 1. Purpose and Scope

## 1.1 Business Problem and Outcome

Calibration due dates are tracked on a spreadsheet held by one metrology technician, so instruments drift past due without anyone noticing until an auditor asks. As-found readings are written on a certificate pad and filed, which means that when an instrument is found out of tolerance nobody can answer the only question that matters: which product was measured with it since the last good calibration. Certificates are scanned and emailed, and the traceability chain to the reference standard is reconstructed by hand. The outcome this release targets is a scheduled, guided calibration captured on a handheld, an automatic impact assessment whenever an instrument fails, and a certificate issued from the record rather than typed alongside it.

## 1.2 In Scope

- Calibration scheduling from interval and usage, with due and overdue visibility by instrument and location

- Guided calibration capture: as-found and as-left readings at each test point against tolerance

- Automatic out-of-tolerance impact assessment across measurements taken since the last passing calibration

- Certificate generation with reference standard traceability, and the immutable calibration record

- Offline capture on the shop floor and in the calibration laboratory, with synchronisation on reconnection

## 1.3 Out of Scope

- Instrument procurement, capitalisation and disposal

- Repair and refurbishment work carried out by external calibration houses

- Measurement systems analysis studies, gauge repeatability and reproducibility

- Product disposition decisions arising from an impact assessment, which remain a quality function

- New analytics beyond the calibration compliance dashboards already in service

## 1.4 Success Measures

| Objective | Metric | Target | Measurement source |
| --- | --- | --- | --- |
| Keep every instrument in calibration | Instruments in service past their calibration due date | Reduce from 8.4 percent to under 1 percent | Calibration due register |
| Answer the impact question immediately | Median time to produce an out-of-tolerance impact list | Reduce from 3 days to 10 minutes | Impact assessment timestamps |
| Issue certificates from the record | Certificates generated without manual transcription | 100 percent of certificates | Certificate issue log |
| Prove traceability on demand | Calibrations with an unbroken reference standard chain recorded | 100 percent | Traceability audit sample |

# 2. Epic

| ID | Epic title | Outcome statement | Business owner |
| --- | --- | --- | --- |
| EPIC-01 | Equipment Calibration Compliance | As a quality and metrology organisation, we need calibrations scheduled, performed and recorded on a handheld with automatic impact assessment when an instrument fails, so that no instrument is used out of calibration and the effect of any failure is known immediately. | Head of Quality Assurance |

# 3. Features and User Stories

## 3.1 FEAT-01 Calibration Scheduling and Due Management

Maintains the calibration schedule from interval and actual usage, shows what is due and what is overdue by instrument and location, and prevents an overdue instrument being drawn for use.

| ID | User story | Acceptance criteria | Priority |
| --- | --- | --- | --- |
| US-101 | As a metrology technician, I want to see instruments due for calibration ranked by due date and criticality, so that I work the schedule in the order that protects product quality. | Given instruments with calibration intervals, when the due list loads, then instruments are sorted by days to due and then by criticality, and each row shows the instrument, location, interval and last calibration date. Given an instrument passes its due date, when the daily job runs, then it is marked overdue and the instrument owner and quality manager are both notified. | Must |
| US-102 | As a production supervisor, I want an overdue instrument blocked from being drawn for use, so that measurements are never taken with an uncalibrated device. | Given an instrument is overdue, when it is scanned at the tool crib, then issue is blocked and the reason and due date are shown. Given a quality manager grants a documented extension, when it is recorded, then the extension carries an expiry, a justification and the approver's identity. | Must |

## 3.2 FEAT-02 Guided Calibration Capture

Presents the calibration procedure for the specific instrument type, captures as-found and as-left readings at every test point, and evaluates each against tolerance as it is entered.

| ID | User story | Acceptance criteria | Priority |
| --- | --- | --- | --- |
| US-201 | As a metrology technician, I want the test points and tolerances for this instrument presented in order, so that I follow the approved procedure rather than working from memory. | Given a scanned instrument, when the calibration opens, then the procedure, its revision, every test point and the applicable tolerance are shown in sequence, together with the reference standard to be used. Given a reference standard is itself out of calibration, when it is selected, then the calibration cannot proceed and the reason is stated. | Must |
| US-202 | As a quality engineer, I want as-found readings captured before any adjustment, so that the condition the instrument was in during production use is recorded honestly. | Given a calibration in progress, when I enter readings, then as-found values are captured and locked before any as-left value can be entered. Given an as-found reading falls outside tolerance, when it is committed, then the calibration is flagged as a failure regardless of the as-left result. | Must |

## 3.3 FEAT-03 Out-of-Tolerance Impact Assessment

When an instrument is found out of tolerance, produces the list of measurements taken with it since the last passing calibration, so the quality team can decide what to do about the affected product.

| ID | User story | Acceptance criteria | Priority |
| --- | --- | --- | --- |
| US-301 | As a quality engineer, I want the measurements taken with a failed instrument since its last passing calibration listed automatically, so that the affected product is identified without a manual search. | Given an as-found failure, when the calibration is submitted, then every measurement record, work order and product lot associated with that instrument since the last passing calibration is listed with its current status. Given a listed lot has already shipped, when it appears, then the customer and shipment reference are shown so a recall decision can be made. | Must |
| US-302 | As a quality manager, I want the impact assessment recorded and dispositioned, so that a failure is closed with a decision rather than left as a list. | Given an impact list, when I record a disposition for each affected lot, then a justification is mandatory on every entry and the decision is stored against the calibration record. Given any affected lot is undispositioned, when certificate issue is attempted, then it is blocked and the outstanding lots are named. | Must |

## 3.4 FEAT-04 Certificate and Traceability Record

Generates the calibration certificate from the captured record, carries the unbroken traceability chain to the national standard, and writes an immutable record that an auditor can rely on.

| ID | User story | Acceptance criteria | Priority |
| --- | --- | --- | --- |
| US-401 | As a metrology technician, I want the certificate generated from the readings I captured, so that no value is transcribed by hand. | Given a completed calibration, when the certificate is issued, then every test point, as-found and as-left value, tolerance, environmental condition and reference standard is drawn from the stored record. Given the certificate is issued, when it is compared to the record, then the values are identical because no manual entry step exists. | Must |
| US-402 | As a quality manager, I want the traceability chain to the national standard recorded on every certificate, so that accreditation requirements are met without assembling evidence later. | Given a calibration using a reference standard, when the record is written, then the standard, its own certificate number, its calibration date and its traceability chain are recorded. Given a certificate is issued, when the record is stored, then it is immutable and any correction is a new linked certificate that supersedes the original. | Must |

# 4. Non-Functional Requirements

| ID | Category | Requirement | Target | Validation |
| --- | --- | --- | --- | --- |
| NFR-001 | Performance | The due list and the calibration capture screen render on a laboratory tablet and a shop floor handheld | 95th percentile under 2 seconds; impact assessment under 20 seconds for 5,000 measurement records | Performance test against the production-shaped dataset |
| NFR-002 | Availability | The calibration service is available throughout laboratory and production hours across all sites | 99.9 percent monthly, measured 06:00 to 22:00 in each site's local time | SLO dashboard and monthly service review |
| NFR-003 | Offline / resilience | A technician can complete a full calibration, including all test points and environmental readings, with no connectivity | Full offline capture, sync within 5 minutes of reconnection, recovery point objective 0 | Chaos and disconnected-device test suite |
| NFR-004 | Security and privacy | Access requires Entra ID single sign-on, and certificate issue is restricted to a named calibration competency held in the training records system | No certificate issued without the competency; quarterly recertification of the competency list | Security review and penetration test |
| NFR-005 | Accessibility | Every screen is operable with gloves in the laboratory and at the machine, and by keyboard alone at a desk | WCAG 2.2 AA on both tablet and desktop views | Automated axe scan plus manual screen-reader audit |
| NFR-006 | Auditability | Every reading, adjustment, impact decision and certificate issue records actor, action, timestamp and correlation identifier | 100 percent captured, retained for 10 years to match the accreditation period | Audit evidence pack sampled each release |
| NFR-007 | Integration | Measurement history and instrument master integrations declare timeouts, retries, idempotency and a defined failure behaviour | Impact assessment never silently incomplete; partial results always labelled | Contract tests in the integration pipeline |

# 5. Traceability

| Feature | User stories | Screen | Test cases | Primary outcome |
| --- | --- | --- | --- | --- |
| FEAT-01 | US-101, US-102 | SCR-01 | TC-101, TC-102 | No instrument is used past its calibration due date |
| FEAT-02 | US-201, US-202 | SCR-02 | TC-201, TC-202 | Calibrations follow the approved procedure and record the true as-found condition |
| FEAT-03 | US-301, US-302 | SCR-03 | TC-301, TC-302 | The product effect of any failure is known in minutes and closed with a decision |
| FEAT-04 | US-401, US-402 | SCR-04 | TC-401, TC-402 | Certificates and traceability evidence are produced from the record, not retyped |

# 6. Assumptions and Out of Scope

## 6.1 Assumptions and Dependencies

- Instrument master data, calibration intervals, procedures and tolerances exist in the quality management system and are exposed through the integration layer.

- Measurement records associating an instrument with a work order and lot are available from the manufacturing execution system.

- Reference standard certificates and their traceability chains are held in the calibration laboratory system.

- Calibration competency is maintained in the training records system and is read, not managed, here.

- Shop floor wireless coverage is intermittent in machine bays rather than absent.

## 6.2 Constraints and Exclusions

- A certificate may only be issued by a person holding the calibration competency for that instrument class.

- As-found readings are locked on entry and can never be altered, because they establish the condition during production use.

- Calibration records and certificates are retained for 10 years to match the accreditation requirement.

- An instrument may not be calibrated against a reference standard that is itself out of calibration.

# 7. Approval

| Reviewer | Role | Decision | Comments | Date |
| --- | --- | --- | --- | --- |
| Chris Santaniello | Director, Solution Engineering | Pending | Business sponsor review |  |
| Product owner | Business product owner | Pending | Scope, stories and acceptance criteria |  |
| Delivery lead | Engineering delivery lead | Pending | Feasibility and estimate confirmation |  |